## GOST 8.423-81
MECHANICAL STOPWATCH CALIBRATION PROTOCOL #
Designation, type: |  |  |  |  | 0
Factory #: |  |  |  |  | 0
Accessory: |  |  |  |  | 0
Calibration reference documentation: |  |  |  |  | GOST 8.423-81
Standards used: (measuring instruments) |  |  |  |  | 0
Calibration conditions: |  |  |  |  | Tolerance |  | Measured value |  |  | Control tool
temperature, °C |  |  |  |  | 15...25 |  | 0 |  |  | 0
humidity, % |  |  |  |  | 50...80 |  | 0 |  |  | 0
pressure, mm Hg |  |  |  |  | 630...795 |  | 0 |  |  | 0
mains voltage, V |  |  |  |  | 198.0(242.0) |  | 0 |  |  | 0
mains frequency, Hz |  |  |  |  | 49.0(51.0) |  | 0 |  |  | 0
Calibration operations:
1. External inspection: |  |  | 0
2. Testing |  |  | 0
3. Determination of metrological characteristics
Measurements # | Dial up
| Measurement error at time intervals of 3 min, 30 s or 60 s. |  |  |  |  | Measurement error at time intervals of 30 min or 60 min.
| τd, s | Δt, s |  |  | Δtmax, s | τд, min, s | Δt, s |  |  | Δav., s | E, s
|  | 1 | 2 | 3 |  |  | 1 | 2 | 3
| 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0,0000, 0,0000, 0,0000
Measurements # | Control knob up
| τd, s | Δt, s |  |  | Δtmax, s | τд, min, s | Δt, s |  |  | Δav., s | E, s
|  | 1 | 2 | 3 |  |  | 1 | 2 | 3
| 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0,0000, 0,0000, 0,0000
Calibration results |  |  | Reject/Accepted
Calibration officer:
#VALUE!

## GOST 8.423-81 (2)
STOPWATCH CALIBRATION PROTOCOL
CALIBRATION PROTOCOL #
Stopwatch type
Factory #
Originating from
Calibration instruments
Measurements # | Dial up
| Measurement error at time intervals of 3 min, 30 s or 60 s. |  |  |  |  | Measurement error at time intervals of 30 min or 60 min.
| τd, s | Δt, s |  |  | Δtmax, s | τд, min, s | Δt, s |  |  | Δav., s | E, s
|  | 1 | 2 | 3 |  |  | 1 | 2 | 3
1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0,0000, 0,0000, 0,0000
2
Measurements # | Control knob up
| Measurement error at time intervals of 3 min, 30 s or 60 s. |  |  |  |  | Measurement error at time intervals of 30 min or 60 min.
| τd, s | Δt, s |  |  | Δtmax, s | τд, min, s | Δt, s |  |  | Δav., s | E, s
|  | 1 | 2 | 3 |  |  | 1 | 2 | 3
1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0,0000, 0,0000, 0,0000
2
Calibration result
#VALUE!

## Data
Measurement # | 0
Date | 0
Measurement interval | 0
Result | 0
Comment | 0
Stopwatch position | 0

## Reference
For correct insertion of measurement results into the fields of the report, it is necessary to carry out measurements in the following order: 1. Short interval, measurement 1 (horizontally) 2. Long interval, measurement 1 (horizontally) 3. Short interval, measurement 1 (vertically) 4. Long interval, measurement 1 (vertically) 5. Short interval, measurement 2 (horizontally) 6. Long interval, measurement 2 (horizontally) 7. Short interval, measurement 2 (vertically) 8. Long interval, measurement 2 (vertically) 9. Short interval, measurement 3 (horizontally) 10. Long interval, measurement 3 (horizontally) 11. Short interval, measurement 3 (vertically) 12. Long interval, measurement 3 (vertically) To automatically generate this sequence of measurements in the unit, set the following parameters: Interval 1: short interval Interval 2: long interval Automatic mode: ON Calibrate horizontally: ON Calibrate vertically: ON Number of repetitions in automatic mode: 3